## @prefix
http://www.openmicroscopy.org/rdf/2016-06/ome_core/
owl | http://www.w3.org/2002/07/owl#
rdf | http://www.w3.org/1999/02/22-rdf-syntax-ns#
xml | http://www.w3.org/XML/1998/namespace
xsd | http://www.w3.org/2001/XMLSchema#
rdfs | http://www.w3.org/2000/01/rdf-schema#
foaf | http://xmlns.com/foaf/0.1/
dcterms | http://purl.org/dc/terms/
PATO | http://purl.obolibrary.org/obo/PATO_
UO | http://purl.obolibrary.org/obo/uo#
qudt | http://qudt.org/schema/qudt/
filterType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FilterType#
pixelType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/PixelType#
dimensionOrder | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DimensionOrder#
fillRule | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FillRule#
fontFamily | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontFamily#
fontStyle | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontStyle#
marker | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Marker#
acquisitioMode | http://www.openmicroscopy.org/rdf/2016-06/ome_core/AcquisitionMode#
microscopeType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/MicroscopeType#
laserType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LaserType#
laserMedium | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LaserMedium#
arcType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/ArcType#
detectorType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DetectorType#
correction | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Collection#
image | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument/image/
immersion | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Immersion#
binning | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Binning#
plate | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/filter/plate/
screen | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/filter/screen/
reagent | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/filter/reagent/
instrument | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/filter/instrument/
image | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/filter/image/
unitLength | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitLength#

## Instrument
English Attribution | Instrument | identifier | manufacturer spec
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturerSpec
datatype | :Instrument | xsd:string | :ManufacturerSpec
| instrument:instrument0 | Instrument:0 | [laser:0]
| instrument:instrument0 |  | [laser:1]
| instrument:instrument0 |  | [laser:2]
| instrument:instrument0 |  | [detector:0]
| instrument:instrument0 |  | [objective:0]
| instrument:instrument0 |  | [filterSet:1]
| instrument:instrument0 |  | [filterSet:2]
| instrument:instrument0 |  | [filter:1]
| instrument:instrument0 |  | [filter:2]
| instrument:instrument0 |  | [filter:3]
| instrument:instrument0 |  | [filter:4]
| instrument:instrument0 |  | [filter:5]
| instrument:instrument0 |  | [filter:6]
| instrument:instrument0 |  | [filter:7]
| instrument:instrument0 |  | [filter:8]
| instrument:instrument0 |  | [dichroic:1]
| instrument:instrument0 |  | [dichroic:3]

## Laser
English Attribution | Laser | identifier | laser type | laser medium
日本語属性
PropertyURI |  | dcterms:identifier | :laserType | :laserMedium
datatype | :Laser | xsd:string | :LaserType | :LaserMedium
| [laser:0] | LightSource:0:0 | laserType:gas | laserMedium:HeNe
| [laser:1] | LightSource:0:1 | laserType:gas | laserMedium:HeNe
| [laser:2] | LightSource:0:2 | laserType:gas | laserMedium:Ag

## Detector
English Attribution | Detector | identifier | detector type | amplification gain | gain | zoom
日本語属性
PropertyURI |  | dcterms:identifier | :detectorType | :amplificationGain | :gain | :zoom
datatype | :Detector | xsd:string | :DetectorType | xsd:float | xsd:float | xsd:float
| [detector:0] | Detector:0:0 | detectorType:other | 1 | 350 | 1

## Objective
English Attribution | Objective | identifier | nominal maginification | correction | lens NA | immersion
日本語属性
PropertyURI |  | dcterms:identifier | :nominalMagnification | :correction | :lensNA | :immersion
datatype | :Objective | xsd:string | xsd:float | :Correction | xsd:float | :Immersion
| [objective:0] | Objective:0:0 | 10 | correction:achromat | 0.3 | immersion:air

## Filter_Set
English Attribution | Filter Set | identifier | manufacturer | model | lot number | emission filter | excitation filter | dichroic
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :lotNumber | :emissionFilter | :excitationFilter | :dichroic
datatype | :FilterSet | xsd:string | :Manufacturer | xsd:string | xsd:string | :EmissionFilter | :ExcitationFilter | :Dichroic
| [filterSet:1] | FilterSet:1 | [manufacturer:inkinc] | Mk 3 | K753 | [filter:5] | [filter:1] | [dichroic:1]
| [filterSet:1] |  |  |  |  | [filter:6] | [filter:2]
| [filterSet:1] | [5 empty] | [filter:3]
| [filterSet:1] | [5 empty] | [filter:4]
| [filterSet:2] | FilterSet:2 | [manufacturer:inkinc] | Mk 3 | K753

## Manufacturer
English Attribution | Manufacturer | label
日本語属性 |  | 名称
PropertyURI |  | rdfs:label
datatype | :Manufacturer | rdf:langString
| [manufacturer:inkinc] | "Ink Inc"@en

## Filter
English Attribution | Filter | identifier | manufacturer | model | lot number | filter wheel | transmittance range | filer type
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :lotNumber | :filterWheel | :transmittanceRange | :filterType
datatype | :Filter | xsd:string | :Manufacturer | xsd:string | xsd:string | xsd:string | :TransmittanceRange | :FilterType
| [filter:1] | Filter:1 | [manufacturer:inkinc] | Medium 490 | J23 | Disk 7 | [transmittanceRange:1] | filterType:bandPass
| [filter:2] | Filter:2 | [manufacturer:inkinc] | Medium 520 | J34 | Disk 7 | [transmittanceRange:2] | filterType:bandPass
| [filter:3] | Filter:3 | [manufacturer:inkinc] | Medium 580 | J12 | Disk 7 | [transmittanceRange:3] | filterType:bandPass
| [filter:4] | Filter:4 | [manufacturer:inkinc] | Medium 630 | J09 | Disk 7 | [transmittanceRange:4] | filterType:bandPass
| [filter:5] | Filter:5 | [manufacturer:inkinc] | Medium 724 | J34 |  | [transmittanceRange:5] | filterType:multiPass
| [filter:6] | Filter:6 | [manufacturer:inkinc] | Medium 762 | J12 |  | [transmittanceRange:6] | filterType:multiPass
| [filter:7] | Filter:7 | [manufacturer:inkinc] | Medium 672 | J09 |  | [transmittanceRange:7] | filterType:shortPass
| [filter:8] | Filter:Dichroic:2 |  | MirrorBlock Mk II | M538 |  |  | filterType:dichroic

## Transmittance_Range
English Attribution | Transmittance Range | cut in | cut out | transmittance
日本語属性
PropertyURI |  | :cutIn | :cutOut | :transmittance
datatype | :TransmittanceRange | PATO:0001242 | PATO:0001242 | xsd:float
| [transmittanceRange:1] | [waveLength:450nm] | [waveLength:530nm] | 0.8
| [transmittanceRange:2] | [waveLength:500nm] | [waveLength:570nm] | 0.75
| [transmittanceRange:3] | [waveLength:550nm] | [waveLength:620nm] | 0.85
| [transmittanceRange:4] | [waveLength:590nm] | [waveLength:680nm] | 0.9
| [transmittanceRange:5] | [waveLength:500nm] | [waveLength:570nm] | 0.75
| [transmittanceRange:6] | [waveLength:550nm] | [waveLength:620nm] | 0.85
| [transmittanceRange:7] | [waveLength:590nm] | [waveLength:680nm] | 0.9

## Dichroic
English Attribution | Dichroic | identifier | lot number | model
日本語属性
PropertyURI |  | dcterms:identifier | :lotNumber | :model
datatype | :Dichroic | xsd:string | xsd:string | xsd:string
| [dichroic:1] | Dichroic:1 |  | HFT 405/488/543/633
| [dichroic:3] | Dichroic:3 | M539 | MirrorBlock MK II

## Image
English Attribution | Image | identifier | label | comment | pixels | acquisition date | imaging condition
日本語属性 |  |  | 名称 | コメント
PropertyURI |  | dcterms:identifier | rdfs:label | rdfs:comment | :pixels | :acquisitionDate | :imagingCondition
datatype | :Image | xsd:string | rdf:langString | rdf:langString | :Pixels | xsd:dateTime | :ImagingCondition
| image:image0 | Image:0 | "405100percentsetting"@en | "Sample Image"@en | [pixels:1] | 2008-06-19T00:39:00 | [imagingCondition:0]
image:image0
image:image0
image:image0

## Imaging_Condition
English Attribution | Imaging Condition | imaging environment | instrument | objective settings
日本語属性
PropertyURI |  | :imagingEnvironment | :instrument | :objectiveSettings
datatype | :ImagingCondition | :ImagingEnvironment | :Instrument | :ObjectiveSettings
| [imagingCondition:0] | [imagingEnvironment:0] | instrument:instrument0 | [objectiveSettings:0]

## Pixels
English Attribution | Pixels | identifier | pixel type | dimension order | size c | size t | size x | size y | size z | channel | metadata only
日本語属性
PropertyURI |  | dcterms:identifier | :pixelType | dimensionOrder | sizeC | sizeT | sizeX | sizeY | sizeZ | channel | :metadataOnly
datatype | :Pixels | xsd:string | :PixelType | DimensionOrder | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | Channel | xsd:boolean
| [pixels:1] | Pixels:1 | pixelType:int16 | dimensionOrder:xyctz | 2 | 1 | 128 | 128 | 1 | [channel:1] | TRUE
| [pixels:1] | [8 empty] | [channel:2]

## Channel
English Attribution | Channel | identifier | filter set | light path
日本語属性
PropertyURI |  | dcterms:identifier | :filterSet | :lightPath
datatype | :Channel | xsd:string | :FilterSet | :LightPath
| [channel:1] | Channel:1 |  | [lightPath:1]
| [channel:2] | Channel:2 | [filterSet:2] | [lightPath:2]

## Lignt_Path
English Attribution | Lignt Path | emission filter | excitation filter | dichroic
日本語属性
PropertyURI |  | :emissionFilter | :excitationFilter | :dichroic
datatype | :LightPath | :EmissionFilter | :ExcitationFilter | :Dichroic
| [lightPath:1] | [filter:5] | [filter:1] | [dichroic:1]
| [lightPath:1] |  | [filter:8]
| [lightPath:2] | [filter:6]

## Objective_Settings
English Attribution | Objective Settings | identifier
日本語属性
PropertyURI |  | dcterms:identifier
datatype | :ObjectiveSettings | xsd:string
| [objectiveSettings:0] | Objective:0:0

## waveLength
English Attribution | Wave Length | value | unit:nm
日本語属性 | 波長 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0001242 | xsd:float | rdfs:Class
| [waveLength:450nm] | 450 | unitLength:nm
| [waveLength:500nm] | 500 | unitLength:nm
| [waveLength:550nm] | 550 | unitLength:nm
| [waveLength:590nm] | 590 | unitLength:nm
| [waveLength:530nm] | 530 | unitLength:nm
| [waveLength:570nm] | 570 | unitLength:nm
| [waveLength:620nm] | 620 | unitLength:nm
| [waveLength:680nm] | 680 | unitLength:nm