## @prefix
http://www.openmicroscopy.org/rdf/2016-06/ome_core/
owl | http://www.w3.org/2002/07/owl#
rdf | http://www.w3.org/1999/02/22-rdf-syntax-ns#
xml | http://www.w3.org/XML/1998/namespace
xsd | http://www.w3.org/2001/XMLSchema#
rdfs | http://www.w3.org/2000/01/rdf-schema#
foaf | http://xmlns.com/foaf/0.1/
dcterms | http://purl.org/dc/terms/
SIO | http://semanticscience.org/resource/SIO_
SBO | http://purl.obolibrary.org/obo/SBO_
PATO | http://purl.obolibrary.org/obo/PATO_
UO | http://purl.obolibrary.org/obo/uo#
qudt | http://qudt.org/schema/qudt/
pixelType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/PixelType#
dimensionOrder | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DimensionOrder#
fillRule | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FillRule#
fontFamily | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontFamily#
fontStyle | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontStyle#
marker | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Marker#
acquisitionMode | http://www.openmicroscopy.org/rdf/2016-06/ome_core/AcquisitionMode#
microscopeType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/MicroscopeType#
laserType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LaserType#
laserMedium | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LaserMedium#
arcType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/ArcType#
detectorType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DetectorType#
correction | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Collection#
immersion | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Immersion#
binning | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Binning#
filterType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FilterType#
unitLength | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitLength#
unitPower | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitPower#
unitElectricPotential | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitElectricPotential#
unitFrequency | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitFrequency#
unitTime | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Unit/UnitTime#
image | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/image/
plate | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/plate/
screen | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/screen/
reagent | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/reagent/
instrument | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/instrument/
microscope | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/microscope/
laser | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/laser/
pump | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/pump/
arc | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/arc/
detector | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/detector/
objective | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/detector/
filterSet | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/filterSet/
filter | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/filter/
transmittanceRange | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/transmittanceRange/
dichroic | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/dichroic/
pixels | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/pixels/
channel | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/channel/
lightSourceSettings | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/lightSourceSettings/
detectorSettings | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/detectorSettings/
lightPath | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/lightPath/
bindata | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/instrument-units-altermate/bindata/

## Instrument
English Attribution | Instrument | identifier | manufacturer spec
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturerSpec
datatype | :Instrument | xsd:string | :ManufacturerSpec
| instrument:instrument0 | Instrument:0 | microscope:microscope0
| instrument:instrument0 |  | laser:laser0
| instrument:instrument0 |  | arc:arc0
| instrument:instrument0 |  | detector:detector0
| instrument:instrument0 |  | objective:objective0
| instrument:instrument0 |  | filterSet:filterSet0
| instrument:instrument0 |  | filter:filter0
| instrument:instrument0 |  | filter:filter1
| instrument:instrument0 |  | filter:filter2
| instrument:instrument0 |  | filter:filter3
| instrument:instrument0 |  | dichroic:dichroic0

## Microscope
English Attribution | Microscope | model | serial number | microscope type | manufacturer
日本語属性
PropertyURI |  | :model | :serialNumber | :microscopeType | :manufacturer
datatype | :Microscope | xsd:string | xsd:string | :MicroscopeType | :Manufacturer
| microscope:microscope0 | Lab Mk3 | L3-1234 | microscopeType:inverted | [manufacturer:omeinstruments]

## Manufacturer
English Attribution | Manufacturer | label
日本語属性 |  | 名称
PropertyURI |  | rdfs:label
datatype | :Manufacturer | rdf:langString
| [manufacturer:omeinstruments] | "OME Instruments"@en
| [manufacturer:omelights] | "OME Lights"@en
| [manufacturer:omedetectors] | "OME Detectors"@en
| [manufacturer:omeobjectives] | "OME Objectives"@en
| [manufacturer:omefilters] | "OME Filters"@en

## Laser
English Attribution | Laser | identifier | manufacturer | model | serial number | power | laser type | laser medium | pump | repetition rate | wave length
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber | :power | :laserType | :laserMedium | :pump | :repetitionRate | :waveLength
datatype | :Laser | xsd:string | :Manufacturer | xsd:string | xsd:string | PATO:0001024 | :LaserType | :LaserMedium | :Pump | PATO:0000044 | PATO:0001242
| laser:laser0 | LightSource:0 | [manufacturer:omelights] | Ruby60 | A654321 | [power:0.2W] | laserType:solidState | laserMedium:Ruby | pump:pump0 | [frequency:1200kHz] | [waveLength:590500pm]

## Pump
English Attribution | Pump | identifier
日本語属性
PropertyURI |  | dcterms:identifier
datatype | :Pump | xsd:string
| pump:pump0 | LightSource:1

## Arc
English Attribution | Arc | identifier | manufacturer | model | serial number | arc type | power
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber | :arcType | :power
datatype | :Arc | xsd:string | :Manufacturer | xsd:string | xsd:string | :ArcType
| arc:arc0 | LightSource:1 | [manufacturer:omelights] | Arc60 | A123456 | arcType:Xe | [power:3dW]

## Detector
English Attribution | Detector | identifier | manufacturer | model | detector type | voltage
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :detectorType | :voltage
datatype | :Detector | xsd:string | :Manufacturer | xsd:string | :DetectorType | SBO:0000259
| detector:detector0 | Detector:0 | [manufacturer:omedetectors] | Standard CCD Mk2 | detectorType:CCD | [voltage:120kV]

## Objective
English Attribution | Objective | identifier | manufacturer | model | working distance | nominal maginification | correction | lens NA | immersion | calibrated maginification
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :workingDistance | :nominalMagnification | :correction | :lensNA | :immersion | :calibratedMagnification
datatype | :Objective | xsd:string | :Manufacturer | xsd:string | PATO:0000040 | xsd:float | :Correction | xsd:float | :Immersion | xsd:float
| objective:objective0 | Objective:0 | [manufacturer:omeobjectives] | 60xUV-Air | [distance:0.02mm] | 60 | correction:UV | 1.2 | immersion:air | 60.12

## Filter_Set
English Attribution | Filter Set | identifier | manufacturer | model | lot number | emission filter | excitation filter | dichroic
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :lotNumber | :emissionFilter | :excitationFilter | :dichroic
datatype | :FilterSet | xsd:string | :Manufacturer | xsd:string | xsd:string | :EmissionFilter | :ExcitationFilter | :Dichroic
| filterSet:filterSet0 | FilterSet:0 | [manufacturer:omefilters] | Standard Mk3 | Lot174-A | filter:filter1 | filter:filter0 | dichroic:dichroic0

## Filter
English Attribution | Filter | identifier | manufacturer | model | filter wheel | transmittance range | filer type
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :filterWheel | :transmittanceRange | :filterType
datatype | :Filter | xsd:string | :Manufacturer | xsd:string | xsd:string | :TransmittanceRange | :FilterType
| filter:filter0 | Filter:0 | [manufacturer:omefilters] | Model1 | Disc A | transmittanceRange:transmittanceRange0
| filter:filter1 | Filter:1 | [manufacturer:omefilters] | Delux Mk4 |  | transmittanceRange:transmittanceRange1 | filterType:bandPass
| filter:filter2 | Filter:2 | [manufacturer:omefilters] | Delux Mk5 |  | transmittanceRange:transmittanceRange2 | filterType:bandPass
| filter:filter3 | Filter:3 | [manufacturer:omefilters] | Delux Mk6 |  | transmittanceRange:transmittanceRange3 | filterType:bandPass

## Transmittance_Range
English Attribution | Transmittance Range | cut in | cut out | cut in tolerance | cut out tolerance | transmittance
日本語属性
PropertyURI |  | :cutIn | :cutOut | :cutInTolerance | :cutOutTolerance | :transmittance
datatype | :TransmittanceRange | PATO:0001242 | PATO:0001242 | PATO:0001242 | PATO:0001242 | xsd:float
| transmittanceRange:transmittanceRange0 | [waveLength:350000pm] | [waveLength:450000pm] | [waveLength:100angstrom] | [waveLength:200angstrom] | 0.3
| transmittanceRange:transmittanceRange1 | [waveLength:560000pm] | [waveLength:630000pm] | [waveLength:250angstrom] | [waveLength:300angstrom] | 0.8
| transmittanceRange:transmittanceRange2 | [waveLength:562000pm] | [waveLength:633000pm] | [waveLength:110angstrom] | [waveLength:230angstrom] | 0.5
| transmittanceRange:transmittanceRange3 | [waveLength:463000pm] | [waveLength:535000pm] | [waveLength:210angstrom] | [waveLength:340angstrom] | 0.7

## Dichroic
English Attribution | Dichroic | identifier | manufacturer | model
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model
datatype | :Dichroic | xsd:string | :Manufacturer | xsd:string
| dichroic:dichroic0 | Dichroic:0 | [manufacturer:omeinstruments] | Standard Mk3

## Image
English Attribution | Image | identifier | label | comment | pixels | acquisition date | instrument
日本語属性 |  |  | 名称 | コメント
PropertyURI |  | dcterms:identifier | rdfs:label | rdfs:comment | :pixels | :acquisitionDate | :instrument
datatype | :Image | xsd:string | rdf:langString | rdf:langString | :Pixels | xsd:dateTime | :Instrument
| image:image0 | Image:0 | "6x6x1x8-swatch.tif"@en | "This image is linked to the Control Set"@en | pixels:pixels0 | 2010-02-23T12:51:30 | instrument:instrument0
image:image0
image:image0
image:image0

## Pixels
English Attribution | Pixels | identifier | pixel type | dimension order | physical size x | physical size y | size c | size t | size x | size y | size z | channel | bin data
日本語属性
PropertyURI |  | dcterms:identifier | :pixelType | dimensionOrder | physicalSizeX | physicalSizeY | sizeC | sizeT | sizeX | sizeY | sizeZ | channel | binData
datatype | :Pixels | xsd:string | :PixelType | DimensionOrder | PATO:0000117 | PATO:0000117 | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | Channel | BinData
| pixels:pixels0 | Pixels:0.0 | pixelType:uint8 | dimensionOrder:xyczt | [size:1cm] | [size:1cm] | 1 | 1 | 6 | 4 | 1 | channel:channel0.1 | bindata:bindata0

## Channel
English Attribution | Channel | identifier | color | light source settings | detector settings | light path | emission wavelength | excitation wavelength | pinhole size
日本語属性
PropertyURI |  | dcterms:identifier | :color | :lightSourceSettings | :detectorSettings | :lightPath | :emissionWavelength | :excitationWavelength | :pinholeSize
datatype | :Channel | xsd:string | :Color | :LightSourceSettings | :DetectorSettings | :LightPath | PATO:0001242 | PATO:0001242 | PATO:0000117
| channel:channel0.1 | Channel:0.1 | [color:-2147483648] | lightSourceSettings:lightSourceSettings0 | detectorSettings:detectorSettings0 | lightPath:lightPath0 | [waveLength:488600pm] | [waveLength:610500pm] | [size:0.0015mm]

## Color
English Attribution | Color | value
日本語属性
PropertyURI |  | rdf:value
datatype | :Color | xsd:string
| [color:-2147483648] | -2147483648

## Light_Source_Settings
English Attribution | Light Source Settings | identifier | wave length | attenuation
日本語属性
PropertyURI |  | dcterms:identifier | :waveLength | :attenuation
datatype | :LightSourceSettings | xsd:string | PATO:0001242 | xsd:float
| lightSourceSettings:lightSourceSettings0 | LightSource:0 | [waveLength:0.51um] | 0.8

## Detector_Settings
English Attribution | Detector Settings | identifier | binning | gain | offset | read out rate | voltage
日本語属性
PropertyURI |  | dcterms:identifier | :binning | :gain | :offset | :readOutRate | :voltage
datatype | :DetectorSettings | xsd:string | :Binning | xsd:float | xsd:float | PATO:0000044 | SBO:0000259
| detectorSettings:detectorSettings0 | Detector:0 | binning:twoXTwo | 1.2 | 0.7 | [frequency:32hHz] | [voltage:12daV]

## Lignt_Path
English Attribution | Lignt Path | emission filter | excitation filter
日本語属性
PropertyURI |  | :emissionFilter | :excitationFilter
datatype | :LightPath | :EmissionFilter | :ExcitationFilter
| lightPath:lightPath0 | filter:filter2 | filter:filter3

## Binary_Data
English Attribution | Binary Data | length | big endian | data
日本語属性
PropertyURI |  | :length | :bigEndian | :data
datatype | :BinData | xsd:nonNegativeLong | xsd:boolean | xsd:base64Binary
| bindata:bindata0 | 32 | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF

## size
English Attribution | Size | value | unit
日本語属性 | サイズ | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000117 | xsd:float | rdfs:Class
| [size:1cm] | 1 | unitLength:cm
| [size:0.0015mm] | 0.0015 | unitLength:mm

## distance
English Attribution | Distance | value | unit
日本語属性 | 距離 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000040 | xsd:float | rdfs:Class
| [distance:0.02mm] | 0.02 | unitLength:mm

## frequency
English Attribution | Frequency | value | unit
日本語属性 | 周波数 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000044 | xsd:float | rdfs:Class
| [frequency:1200kHz] | 1200 | unitFrequency:kHz
| [frequency:32hHz] | 32 | unitFrequency:hHz

## voltage
English Attribution | Voltage | value | unit
日本語属性 | 電圧 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | SBO:0000259 | xsd:float | rdfs:Class
| [voltage:120kV] | 120 | unitElectricPotential:kV
| [voltage:12daV] | 12 | unitElectricPotential:daV

## waveLength
English Attribution | Wave Length | value | unit:nm
日本語属性 | 波長 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0001242 | xsd:float | rdfs:Class
| [waveLength:590500pm] | 590500 | unitLength:pm
| [waveLength:350000pm] | 350000 | unitLength:pm
| [waveLength:560000pm] | 560000 | unitLength:pm
| [waveLength:562000pm] | 562000 | unitLength:pm
| [waveLength:463000pm] | 463000 | unitLength:pm
| [waveLength:450000pm] | 450000 | unitLength:pm
| [waveLength:630000pm] | 630000 | unitLength:pm
| [waveLength:633000pm] | 633000 | unitLength:pm
| [waveLength:535000pm] | 535000 | unitLength:pm
| [waveLength:100angstrom] | 100 | unitLength:angstrom
| [waveLength:250angstrom] | 250 | unitLength:angstrom
| [waveLength:110angstrom] | 110 | unitLength:angstrom
| [waveLength:210angstrom] | 210 | unitLength:angstrom
| [waveLength:200angstrom] | 200 | unitLength:angstrom
| [waveLength:300angstrom] | 300 | unitLength:angstrom
| [waveLength:230angstrom] | 230 | unitLength:angstrom
| [waveLength:340angstrom] | 340 | unitLength:angstrom
| [waveLength:488600pm] | 488600 | unitLength:pm
| [waveLength:610500pm] | 610500 | unitLength:pm
| [waveLength:0.51um] | 0.51 | unitLength:um

## power
English Attribution | Power | value | unit:nm
日本語属性 |  | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0001024 | xsd:float | rdfs:Class
| [power:0.2W] | 0.2 | unitPower:W
| [power:3dW] | 3 | unitPower:dW