## @prefix
http://www.openmicroscopy.org/rdf/2016-06/ome_core/
owl | http://www.w3.org/2002/07/owl#
rdf | http://www.w3.org/1999/02/22-rdf-syntax-ns#
xml | http://www.w3.org/XML/1998/namespace
xsd | http://www.w3.org/2001/XMLSchema#
rdfs | http://www.w3.org/2000/01/rdf-schema#
foaf | http://xmlns.com/foaf/0.1/
dcterms | http://purl.org/dc/terms/
SIO | http://semanticscience.org/resource/SIO_
SBO | http://purl.obolibrary.org/obo/SBO_
PATO | http://purl.obolibrary.org/obo/PATO_
UO | http://purl.obolibrary.org/obo/uo#
qudt | http://qudt.org/schema/qudt/
pixelType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/PixelType#
dimensionOrder | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DimensionOrder#
fillRule | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FillRule#
fontFamily | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontFamily#
fontStyle | http://www.openmicroscopy.org/rdf/2016-06/ome_core/FontStyle#
marker | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Marker#
acquisitioMode | http://www.openmicroscopy.org/rdf/2016-06/ome_core/AcquisitionMode#
laserType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LazerType#
laserMedium | http://www.openmicroscopy.org/rdf/2016-06/ome_core/LazerMedium#
detectorType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/DetectorType#
microscopeType | http://www.openmicroscopy.org/rdf/2016-06/ome_core/MicroscopeType#
correction | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Correction#
immersion | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Immersion#
medium | http://www.openmicroscopy.org/rdf/2016-06/ome_core/Medium#
image | http://www.openmicroscopy.org/rdf/2016-06/ome_core/spim/image/
plate | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/spim/plate/
screen | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/spim/screen/
reagent | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/spim/reagent/
unit | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/spim/unit/
instrument | http://www.openmicroscopy.org/rdf/2016-06/ome_core/samples/spim/instrument/

## Instrument
English Attribution | Instrument | identifier | manufacturer spec
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturerSpec
datatype | :Instrument | xsd:string | :ManufacturerSpec
| instrument:instrument0 | Instrument:SpimSampleMicroscope1 | [microscope:0]
| instrument:instrument0 |  | [laser:0]
| instrument:instrument0 |  | [detector:0]
| instrument:instrument0 |  | [led:0]
| instrument:instrument0 |  | [objective:0]
| instrument:instrument0 |  | [objective:1]
| instrument:instrument0 |  | [objective:2]

## Microscope
English Attribution | Microscope | model | serial number | microscope type | manufacturer
日本語属性
PropertyURI |  | :model | :serialNumber | :microscopeType | :manufacturer
datatype | :Microscope | xsd:string | xsd:string | :MicroscopeType | :Manufacturer
| [microscope:0] | Spim-Sample | SPIM-1 | microscopeType:other | [manufacturer:omesample]

## Manufacturer
English Attribution | Manufacturer | label
日本語属性 |  | 名称
PropertyURI |  | rdfs:label
datatype | :Manufacturer | rdf:langString
| [manufacturer:omesample] | "OME-Sample"@en

## Laser
English Attribution | Laser | identifier | manufacturer | model | serial number | wave length | laser type | laser medium
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber | :waveLength | :laserType | :laserMedium
datatype | :Laser | xsd:string | :Manufacturer | xsd:string | xsd:string | PATO:0001242 | :LaserType | :LaserMedium
| [laser:0] | LightSource:1 | [manufacturer:omesample] | Laser Mk1 | LASER-1 | [waveLength:448nm] | laserType:semiconductor | laserMedium:GaAs

## LED
English Attribution | LED | identifier | manufacturer | model | serial number
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber
datatype | :LightEmittingDiode | xsd:string | :Manufacturer | xsd:string | xsd:string
| [led:0] | LightSource:2 | [manufacturer:omesample] | Green LED Mk1 | LED-1

## Detector
English Attribution | Detector | identifier | manufacturer | model | serial number | detector type
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber | :detectorType
datatype | :Detector | xsd:string | :Manufacturer | xsd:string | xsd:string | :DetectorType
| [detector:0] | Detector:1 | [manufacturer:omesample] | OME-CCD Mk1 | CCD1 | detectorType:CCD

## Objective
English Attribution | Objective | identifier | manufacturer | model | serial number | working distance | nominal maginification | correction | lens NA | immersion | calibrated maginification
日本語属性
PropertyURI |  | dcterms:identifier | :manufacturer | :model | :serialNumber | :workingDistance | :nominalMagnification | :correction | :lensNA | :immersion | :calibratedMagnification
datatype | :Objective | xsd:string | :Manufacturer | xsd:string | xsd:string | PATO:0000040 | xsd:float | :Correction | xsd:float | :Immersion | xsd:float
| [objective:0] | Objective:1 | [manufacturer:omesample] | Objective Mk1 | OBJ1 | [distance:0um] | 20 | correction:other | 0.95 | immersion:oil | 20
| [objective:1] | Objective:TubeLens:1 | [manufacturer:omesample] | OME - Tube lens 120 mm Mk1
| [objective:2] | Objective:Illumation:1 | [manufacturer:omesample] | Objective Mk2 | OBJ2 | [distance:19800um] | 5 |  | 0.5 | immersion:air | 5.12

## Image
English Attribution | Image | identifier | label | pixels | acquisition date | instrument | imaging condition | annotation
日本語属性 |  |  | 名称
PropertyURI |  | dcterms:identifier | rdfs:label | :pixels | :acquisitionDate | :instrument | :imagingCondition | :annotation
datatype | :Image | xsd:string | rdf:langString | :Pixels | xsd:dateTime | :Instrument | :ImagingCondition | :Annotation
| image:image0 | Image:0 | "Spim Sample Tile 1 Angle 1"@en | [pixels:image0] | 2010-11-10T14:42:38 | instrument:instrument0 | [imagingCondition:image0] | [xmlAnnotation:ExtraStageLabel:1:0]
| image:image0 | [6 empty] | [xmlAnnotation:SpimSet:1]
| image:image0 | [6 empty] | [xmlAnnotation:ObjectiveAdditions:1]
| image:image0 | [6 empty] | [xmlAnnotation:SystemSpecific:1]
| image:image1 | Image:1 | "Spin Sample Tile 2 Angle 1"@en | [pixels:image1] | 2010-11-10T14:42:38 | instrument:instrument0 | [imagingCondition:image1] | [xmlAnnotation:ExtraStageLabel:1:1]
| image:image1 | [6 empty] | [xmlAnnotation:SpimSet:1]
| image:image1 | [6 empty] | [xmlAnnotation:ObjectiveAdditions:1]
| image:image1 | [6 empty] | [xmlAnnotation:SystemSpecific:1]
| image:image2 | Image:2 | "Spim Sample Tile 1 Angle 2"@en | [pixels:image2] | 2010-11-10T14:42:38 | instrument:instrument0 | [imagingCondition:image2] | [xmlAnnotation:ExtraStageLabel:1:2]
| image:image2 | [6 empty] | [xmlAnnotation:SpimSet:1]
| image:image2 | [6 empty] | [xmlAnnotation:ObjectiveAdditions:1]
| image:image2 | [6 empty] | [xmlAnnotation:SystemSpecific:1]
| image:image3 | Image:3 | "Spim Sample Tile 2 Angle 2"@en | [pixels:image3] | 2010-11-10T14:42:38 | instrument:instrument0 | [imagingCondition:image3] | [xmlAnnotation:ExtraStageLabel:1:3]
| image:image3 | [6 empty] | [xmlAnnotation:SpimSet:1]
| image:image3 | [6 empty] | [xmlAnnotation:ObjectiveAdditions:1]
| image:image3 | [6 empty] | [xmlAnnotation:SystemSpecific:1]

## Imaging_Condition
English Attribution | Imaging Condition | Objective Settings | stage label
日本語属性
PropertyURI |  | :objectiveSettings | :stageLabel
datatype | :ImagingCondition | :ObjectiveSettings | :StageLabel
| [imagingCondition:image0] | [objectiveSettings:image0] | [stageLabel:image0]
| [imagingCondition:image1] | [objectiveSettings:image1] | [stageLabel:image1]
| [imagingCondition:image2] | [objectiveSettings:image2] | [stageLabel:image2]
| [imagingCondition:image3] | [objectiveSettings:image3] | [stageLabel:image3]

## Objective_Settings
English Attribution | Objective Settings | identifier | correction collar | medium
日本語属性
PropertyURI |  | dcterms:identifier | :correctionCollar | :medium
datatype | :ObjectiveSettings | xsd:string | xsd:float | :Medium
| [objectiveSettings:image0] | Objective:1 | 6 | medium:oil
| [objectiveSettings:image1] | Objective:1 | 6 | medium:oil
| [objectiveSettings:image2] | Objective:1 | 6 | medium:oil
| [objectiveSettings:image3] | Objective:1 | 6 | medium:oil

## StageLabel
English Attribution | StageLabel | label | position x | position y
日本語属性 |  | 名称
PropertyURI |  | rdfs:label | :positionX | :positionY
datatype | :StageLabel | rdf:langString | xsd:float | xsd:float
| [stageLabel:image0] | "(1,1) of 1x2"@en | 1 | 1
| [stageLabel:image1] | "(1,2) of 1x2"@en | 1 | 2
| [stageLabel:image2] | "(1,1) of 1x2"@en | 1 | 1
| [stageLabel:image3] | "(1,2) of 1x2"@en | 1 | 2

## Pixels
English Attribution | Pixels | identifier | pixel type | dimension order | physical size x | physical size y | size c | size t | size x | size y | size z | channel | bin data | plane
日本語属性
PropertyURI |  | dcterms:identifier | :pixelType | :dimensionOrder | :physicalSizeX | :physicalSizeY | :sizeC | :sizeT | :sizeX | :sizeY | :sizeZ | :channel | :binData | :plane
datatype | :Pixels | xsd:string | :PixelType | :DimensionOrder | PATO:0000117 | PATO:0000117 | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | xsd:positiveInteger | :Channel | :BinData | :Plane
| [pixels:image0] | Pixels:0.0 | pixelType:uint8 | dimensionOrder:xyczt | [size:10000um] | [size:10000um] | 2 | 2 | 6 | 4 | 2 | [channel:0.0] | [bindata:1] | [plane:1]
| [pixels:image0] | [10 empty] | [channel:0.1] | [bindata:2] | [plane:2]
| [pixels:image0] | [11 empty] | [bindata:3] | [plane:3]
| [pixels:image0] | [11 empty] | [bindata:4] | [plane:4]
| [pixels:image0] | [11 empty] | [bindata:5] | [plane:5]
| [pixels:image0] | [11 empty] | [bindata:6] | [plane:6]
| [pixels:image0] | [11 empty] | [bindata:7] | [plane:7]
| [pixels:image0] | [11 empty] | [bindata:8] | [plane:8]
| [pixels:image1] | Pixels:1.0 | pixelType:uint8 | dimensionOrder:xyczt | [size:10000um] | [size:10000um] | 2 | 2 | 6 | 4 | 2 | [channel:1.0] | [bindata:9] | [plane:9]
| [pixels:image1] | [10 empty] | [channel:1.1] | [bindata:10] | [plane:10]
| [pixels:image1] | [11 empty] | [bindata:11] | [plane:11]
| [pixels:image1] | [11 empty] | [bindata:12] | [plane:12]
| [pixels:image1] | [11 empty] | [bindata:13] | [plane:13]
| [pixels:image1] | [11 empty] | [bindata:14] | [plane:14]
| [pixels:image1] | [11 empty] | [bindata:15] | [plane:15]
| [pixels:image1] | [11 empty] | [bindata:16] | [plane:16]
| [pixels:image2] | Pixels:2.0 | pixelType:uint8 | dimensionOrder:xyczt | [size:10000um] | [size:10000um] | 2 | 2 | 6 | 4 | 2 | [channel:2.0] | [bindata:17] | [plane:17]
| [pixels:image2] | [10 empty] | [channel:2.1] | [bindata:18] | [plane:18]
| [pixels:image2] | [11 empty] | [bindata:19] | [plane:19]
| [pixels:image2] | [11 empty] | [bindata:20] | [plane:20]
| [pixels:image2] | [11 empty] | [bindata:21] | [plane:21]
| [pixels:image2] | [11 empty] | [bindata:22] | [plane:22]
| [pixels:image2] | [11 empty] | [bindata:23] | [plane:23]
| [pixels:image2] | [11 empty] | [bindata:24] | [plane:24]
| [pixels:image3] | Pixels:3.0 | pixelType:uint8 | dimensionOrder:xyczt | [size:10000um] | [size:10000um] | 2 | 2 | 6 | 4 | 2 | [channel:3.0] | [bindata:25] | [plane:25]
| [pixels:image3] | [10 empty] | [channel:3.1] | [bindata:26] | [plane:26]
| [pixels:image3] | [11 empty] | [bindata:27] | [plane:27]
| [pixels:image3] | [11 empty] | [bindata:28] | [plane:28]
| [pixels:image3] | [11 empty] | [bindata:29] | [plane:29]
| [pixels:image3] | [11 empty] | [bindata:30] | [plane:30]
| [pixels:image3] | [11 empty] | [bindata:31] | [plane:31]
| [pixels:image3] | [11 empty] | [bindata:32] | [plane:32]

## Channel
English Attribution | Channel | identifier | color | flour
日本語属性
PropertyURI |  | dcterms:identifier | :color | :flour
datatype | :Channel | xsd:string | :Color | xsd:string
| [channel:0.0] | Channel:0.0 | [color:-1] | Autofluorescence
| [channel:0.1] | Channel:0.1 | [color:16711935] | Green-OME
| [channel:1.0] | Channel:1.0 | [color:-1] | Autofluorescence
| [channel:1.1] | Channel:1.1 | [color:16711935] | Green-OME
| [channel:2.0] | Channel:2.0 | [color:-1] | Autofluorescence
| [channel:2.1] | Channel:2.1 | [color:16711935] | Green-OME
| [channel:3.0] | Channel:3.0 | [color:-1] | Autofluorescence
| [channel:3.1] | Channel:3.1 | [color:16711935] | Green-OME

## Color
English Attribution | Color | value
日本語属性
PropertyURI |  | rdf:value
datatype | :Color | xsd:string
| [color:16711935] | 16711935
| [color:-1] | -1

## Binary_Data
English Attribution | Binary Data | big endian | data | length
日本語属性
PropertyURI |  | :bigEndian | :data | :length
datatype | :BinData | xsd:boolean | xsd:base64Binary | xsd:nonNegativeLong
| [bindata:1] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:2] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:3] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:4] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:5] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:6] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:7] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:8] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:9] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:10] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:11] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:12] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:13] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:14] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:15] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:16] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:17] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:18] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:19] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:20] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:21] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:22] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:23] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:24] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:25] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:26] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:27] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:28] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:29] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:30] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:31] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32
| [bindata:32] | FALSE | /wCrzur//wB5oMPi/wBIbJO3AP8ePGCF | 32

## Plane
English Attribution | Plane | the z | the t | the c | exposure time
日本語属性
PropertyURI |  | :theZ | :theT | :theC | :exposureTime
datatype | :Plane | xsd:nonNegativeInteger | xsd:nonNegativeInteger | xsd:nonNegativeInteger | PATO:0000165
| [plane:1] | 0 | 0 | 0 | [time:500s]
| [plane:2] | 0 | 0 | 1 | [time:500s]
| [plane:3] | 1 | 0 | 0 | [time:500s]
| [plane:4] | 1 | 0 | 1 | [time:500s]
| [plane:5] | 0 | 1 | 0 | [time:500s]
| [plane:6] | 0 | 1 | 1 | [time:500s]
| [plane:7] | 1 | 1 | 0 | [time:500s]
| [plane:8] | 1 | 1 | 1 | [time:500s]
| [plane:9] | 0 | 0 | 0 | [time:500s]
| [plane:10] | 0 | 0 | 1 | [time:500s]
| [plane:11] | 1 | 0 | 0 | [time:500s]
| [plane:12] | 1 | 0 | 1 | [time:500s]
| [plane:13] | 0 | 1 | 0 | [time:500s]
| [plane:14] | 0 | 1 | 1 | [time:500s]
| [plane:15] | 1 | 1 | 0 | [time:500s]
| [plane:16] | 1 | 1 | 1 | [time:500s]
| [plane:17] | 0 | 0 | 0 | [time:500s]
| [plane:18] | 0 | 0 | 1 | [time:500s]
| [plane:19] | 1 | 0 | 0 | [time:500s]
| [plane:20] | 1 | 0 | 1 | [time:500s]
| [plane:21] | 0 | 1 | 0 | [time:500s]
| [plane:22] | 0 | 1 | 1 | [time:500s]
| [plane:23] | 1 | 1 | 0 | [time:500s]
| [plane:24] | 1 | 1 | 1 | [time:500s]
| [plane:25] | 0 | 0 | 0 | [time:500s]
| [plane:26] | 0 | 0 | 1 | [time:500s]
| [plane:27] | 1 | 0 | 0 | [time:500s]
| [plane:28] | 1 | 0 | 1 | [time:500s]
| [plane:29] | 0 | 1 | 0 | [time:500s]
| [plane:30] | 0 | 1 | 1 | [time:500s]
| [plane:31] | 1 | 1 | 0 | [time:500s]
| [plane:32] | 1 | 1 | 1 | [time:500s]

## Structured_Annotations
English Attribution | Structured Annotations | annotation
日本語属性
PropertyURI |  | :annotation
datatype | :StructuredAnnotations | :Annotation
| [structuredAnnotation:0] | [xmlAnnotation:ExtraStageLabel:1:0]
| [structuredAnnotation:0] | [xmlAnnotation:ExtraStageLabel:1:1]
| [structuredAnnotation:0] | [xmlAnnotation:ExtraStageLabel:1:2]
| [structuredAnnotation:0] | [xmlAnnotation:ExtraStageLabel:1:3]
| [structuredAnnotation:0] | [xmlAnnotation:SpimSet:1]
| [structuredAnnotation:0] | [xmlAnnotation:ObjectiveAdditions:1]
| [structuredAnnotation:0] | [xmlAnnotation:SystemSpecific:1]

## XML_Annotation
English Attribution | XML Annotation | identifier | comment | namespace | XML annotation value
日本語属性 |  |  | コメント
PropertyURI |  | dcterms:identifier | rdfs:comment | :namespace | rdf:value
datatype | :XMLAnnotation | xsd:string | rdf:langString | xsd:string | rdf:XMLLiteral
| [xmlAnnotation:ExtraStageLabel:1:0] | Annotation:ExtraStageLabel:1:0 |  | ome-xml.org:additions:post2010-06:spim:positions | <OME-Extra:SpimPositions xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <StagePosition TheZ="0" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> </OME-Extra:SpimPositions>
| [xmlAnnotation:ExtraStageLabel:1:1] | Annotation:ExtraStageLabel:1:1 |  | ome-xml.org:additions:post2010-06:spim:positions | <OME-Extra:SpimPositions xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <StagePosition TheZ="0" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> </OME-Extra:SpimPositions>
| [xmlAnnotation:ExtraStageLabel:1:2] | Annotation:ExtraStageLabel:1:2 |  | ome-xml.org:additions:post2010-06:spim:positions | <OME-Extra:SpimPositions xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <StagePosition TheZ="0" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> </OME-Extra:SpimPositions>
| [xmlAnnotation:ExtraStageLabel:1:3] | Annotation:ExtraStageLabel:1:3 | "Extra position of "@en | ome-xml.org:additions:post2010-06:spim:positions | <OME-Extra:SpimPositions xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <StagePosition TheZ="0" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="objective_stage" PositionX="-4.345366" PositionY="11.947302" PositionZ="11.94645"/> <StagePosition TheZ="0" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="0" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="0" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="0" Name="cylinder_stage" PositionX="23.745692"/> <StagePosition TheZ="1" TheT="1" TheC="1" Name="cylinder_stage" PositionX="23.745692"/> </OME-Extra:SpimPositions>
| [xmlAnnotation:SpimSet:1] | Annotation:SpimSet:1 | "This structure combines the images into a SPIM set and defines the angles the images were taken from."@en | ome-xml.org:additions:post2010-06:spim:set | <OME-Extra:SpimSet xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <SpimImage ID="Image:0" Angle="0"/> <SpimImage ID="Image:1" Angle="0"/> <SpimImage ID="Image:2" Angle="45"/> <SpimImage ID="Image:3" Angle="45"/> </OME-Extra:SpimSet>
| [xmlAnnotation:ObjectiveAdditions:1] | Annotation:ObjectiveAdditions:1 | "Extra attribute values for the objective objects."@en | ome-xml.org:additions:post2010-06:objective | <OME-Extra:ObjectiveAttributes xmlns:OME-Extra="http://www.openmicroscopy.org/Schemas/Additions/2010-10"> <ObjectiveAdditions ID="Objective:TubeLens:1" FocalLength="120" SlitAperture="6" LightSheetWidth="0.8"/> <ObjectiveAdditions ID="Objective:Illumation:1" FocalLength="25"/> </OME-Extra:ObjectiveAttributes>
| [xmlAnnotation:SystemSpecific:1] | Annotation:SystemSpecific:1 | "These are the values you want attached to the SPIM images specific to your system that are not covered in our general SPIM additions."@en |  | <YourCustomXmlData>Any well formed XML allowed.</YourCustomXmlData>

## Unit
English Attribution | Unit | label | prefix | base unit
日本語属性 | 単位 | 名称 | 接頭辞 | 基本単位
PropertyURI |  | rdfs:label | :prefix | :baseUnit
datatype | :Unit | rdf:langString | UO:0000046 | UO:0000000
| unit:nm | "nano-meter"@en | UO:0000300 | UO:0000008
| unit:MHz | "mega-heltz"@en | UO:0000293 | UO:0000106
| unit:um | "micro-meter"@en | UO:0000299 | UO:0000008
| unit:mW | "milli-watt"@en | UO:0000297 | UO:0000114

## size
English Attribution | Size | value | unit
日本語属性 | サイズ | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000117 | xsd:float | rdfs:Class
| [size:10000um] | 100000 | unit:um

## distance
English Attribution | Distance | value | unit
日本語属性 | 距離 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000040 | xsd:float | rdfs:Class
| [distance:19800um] | 19800 | unit:um
| [distance:0um] | 0 | unit:um

## waveLength
English Attribution | Wave Length | value | unit:nm
日本語属性 | 波長 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0001242 | xsd:float | rdfs:Class
| [waveLength:448nm] | 448 | unit:nm

## time
English Attribution | Time | value | unit:nm
日本語属性 | 時間 | 値 | 単位
PropertyURI |  | rdf:value | qudt:unit
datatype | PATO:0000165 | xsd:float | rdfs:Class
| [time:500s] | 500 | UO:0000010